NAME: …………………………

Core practical 1

Determine the acceleration of a freely-falling object.

Objective:

To measure the acceleration due to gravity g of an object falling freely through a light gate.

CPAC skills:-	2a,				2d,				4a

Safety

Ensure security of any apparatus that might topple over.

Be aware of falling objects.

All the maths you need

Use ratios, fractions and percentages (k is the measurement students make).

Percentage uncertainty         (%U) = Uncertainty    × 100%

mean value

Percentage difference         (%D) = k - g    × 100%

g

Find arithmetic means.

The mean of a range of data = sum of readings

number of readings

Translate information between graphical, numerical and algebraic forms.

Plot two variables from experimental or other data.

Understand that y = mx + c represents a linear relationship.

Determine the slope and intercept of a linear graph.

Equipment

metre ruler or tape measure with millimetre resolution

falling object, e.g. marked block of wood

means to guide the object through light gate

clamp stand, light gate, 5V power supply, digital storage oscilloscope as timer.

Procedure

1.	Drop the object from rest and record the time taken, t, for the block of wood to pass through
	the light gate.

2.	Repeat the measurement twice more and work out the mean value.

3.	Measure and record the height, h, fallen by the object.

4.	Repeat the timing of the drop as you vary the height; you should take at least 6 readings.

5.	Use half the range in your readings for t as the uncertainty in t.
	Calculate the percentage uncertainty in t.

6.	Measure the length of the block of wood.

Analysis of results

1.	Use your value for the length of the block of wood to calculate the mean speed, v, of the
	block of wood as it passes through the light gate.

2.	Plot a graph of v2 against h and work out the gradient, m, of the line of best fit.

3.	Calculate a value for g, where g= m/2

4.	The percentage uncertainty (%U) in v2 is twice that in v.

Use this to draw on your plot’s error bars – in the y direction only.

You can use a typical mid-range value for calculating uncertainties and need not work out
	a separate error bar for each value.  Draw further lines of fit to calculate the %U in your
	value for g.

5.	Calculate the percentage difference (%D) between your value and the accepted value of

9.81 ms–2 and comment on the accuracy of your method.

Learning tips

Ensure that points plotted on a graph take up more than half of the available space on
	both scales.

Keep scales simple, one big square as 5, 10 or 20 is ideal.
	One big square as 3 or 7 is very difficult to plot on and often leads to errors.

Always consider whether or not the graph line should go through the origin.
	Straight lines should be drawn with aid of a ruler – one long enough to cover
	the full length of the line.

Since the object is falling at constant acceleration, use the appropriate SUVAT equation.

v2 = u2 + 2as where u= 0, a= g, and s is h.

v2 = 2gh and comparison with y = mx+ c shows that plotting v2 against h should
		be a straight line passing through the origin with gradient 2g.

Questions

1.	Describe any advantage in using light gates in this experiment compared to a 'trap door' 	method.

2.	Discuss the effect of air resistance on your value for g.

3.	Explain why the graph should be a straight line.

Equipment set up

1).	Connect the light gate to the 5V power supply - Red lead to +5V (red terminal) and
	Green/Yellow lead to 0V (Blue terminal).

2).	Connect the Blue light gate lead to 0V of CH1 of the oscilloscope and 0V of the
	power supply to the positive (Red) input of CH1.  TURN ON the 5V power supply.

This arrangement will give a positive going pulse when the light gate is triggered.

3).	Turn on the oscilloscope and press AUTO.

4).	Set the Y sensitivity to 500mV/div or 1V/div.  Set the coupling to DC.

5).	Adjust the vertical trace position so that it is near the bottom of the oscilloscope screen.

6).	Adjust the trigger point to be two divisions above the bottom of the screen.

7).	Set the time base to 20ms/div.

8).	Set the horizontal start point to one division from the left of the screen

9).	Set (using Menu) the trigger mode to Single.  Set Trigger coupling to DC.

Use Run/Stop to set the oscilloscope to take readings.

10).	Select Measure.  The period of the pulse will be displayed in CH1 width.