NAME: …………………………

Core practical 2

Determine the electrical resistivity of a material.

Objective

To use a metal wire to determine the resistivity of a metal.

CPAC skills:-	2b,				3a,				5b

Safety

Voltages and currents are small and so present no specific hazard.

Normal laboratory safety procedures should be followed.

All the maths you need

Given ρ=RAℓ  where ρ and A are constant, a graph of R against ℓ should be a straight line
	through the origin.

Area of a circle = r2

Recognise and use expressions in decimal and standard form.

Use ratios, fractions and percentages.

Use an appropriate number of significant figures.

Identify uncertainties in measurements and use simple techniques to determine uncertainty
	when data are combined by addition, subtraction, multiplication, division and raising to
	powers.

Substitute numerical values into algebraic equations using appropriate units for physical
	quantities.

Translate information between graphical, numerical and algebraic forms.

Plot two variables from experimental or other data.

Understand that y = mx + c represents a linear relationship.

Determine the slope and intercept of a linear graph.

Equipment

more than 1m of 30 - 36swg constantan wire

metre ruler

2 leads, one with a crocodile clip on one end

digital multimeter switched to the lowest ohms scale with both the leads plugged in

micrometer screw gauge.

Diagram

Procedure

1.	Attach the crocodile clip to the wire at the ‘zero’ end of the metre ruler.

2.	You will use the 4 mm plug at the free end of the second lead to make contact with different
	places on the wire.  You will record the resistance R at that point and the length ℓ from the
	‘zero’ end.  Place the 4mm plug approximately 10cm from the ‘zero’ end and record R
	and ℓ.  You will need to press the plug firmly onto the wire to obtain a steady reading on
	the multimeter.

3.	Move the plug along the wire in steps of approximately 10cm and record R and ℓ at
	each step in a suitable table.

4.	Measure the diameter of the wire.

5.	Estimate the uncertainties in your measurements.

Analysis of results

1.	Plot a graph of R against ℓ and measure the gradient m.

2.	Use your value of m and the diameter, d, to determine a value for the resistivity, ρ, of
	the metal.  Use ρ = mA where A is the cross-sectional area of the wire.

3.	Determine a value for the uncertainty in your values for the gradient and A.

Hence calculate the uncertainty in your value for the resistivity.

4.	Look up a value for ρ from two different sources; one should be online and one from
	elsewhere.  Use the uncertainties you calculated to comment on your measurements.

5.	Explain why your graph does not pass through the origin.

Learning tips

When two metals are in contact, an electromotive force can be established.

The area of contact between the clip and the wire might be quite small.

The area of contact between the plug and the wire is very small.

Questions

1.	Explain how you might change the apparatus to calculate your value for the resistivity
	with greater resolution.

2.	Explain why plotting a graph improves your accuracy.

3.	Explain why you need to use a wire to find the resistivity of a metal and explain what
	shape of sample would be suitable for a plastic.

4.	Identify the sources of uncertainty in this experiment.
	Consider the accuracy (percentage difference) of your result and comment on the effect
	the uncertainties might have had.

5.	Explain why the current through the wire should be small